## Land-Use Zone
18‑4 Land‑Use Zones and Formation of Land‑Use Zones
According to the zoning shown in the Development Plan map, the Jaipur Planning Area has been divided into four land‑use zones.
Each land‑use zone is further subdivided into different land‑use premises for specific activities.
In every land‑use premises, certain land‑uses/activities are permitted (with or without conditions).
Any land‑use or activity not permitted or not approved in a particular land‑use premises will be regulated according to the land‑use rules/provisions of the Development Plan.
The Planning Area is divided into the following 4 Land‑Use Zones:
1. Central Zone / Old Urban Area | CA
2. DPA‑2021 Zone | DA-01
3. Northern Zone | DA-02
4. Southern Zone | DA-03
18‑5 Permitted Land Uses
In the four designated planning zones, various land‑use categories have been proposed. These include:
Land Use | Land Subuse
Residential | R1 | Central area Residential
Residential | R2 | Residential outside Central Zone & within DPA‑2021 limits
Residential | R3 | Village settlement
Residential | R4 | Proposed Urban Residential / Proposed Rural Expansion
Residential | R5 | Affordable housing area
Commercial | Commercial
Industrial | Industrial
Public and Semi‑Public | Public and semi public
Recreational | Recreational
Transportation | Transportation
Agriculture | Agriculture

## Land‑Use Category
Schedule 18‑1: Jaipur – Land‑Use Zones & Land‑Use Categories
Land‑Use Category → Permitted Activities
Below is the translated table:
Section 18‑5 — Permitted Land Uses
RESIDENTIAL LAND‑USE CATEGORIES (R1–R5)
S. No. | Code | Category Name | Permitted Residential Activities
1 | R | Residential | Detached Dwelling Unit, Semi-Detached Dwelling Unit, Row House, Apartments, Hostel, Dharamshala, Group Housing, Night Shelter, Creche, Service Apartment, Integrated Township
2 | R2 | Residential outside Central Zone & within DPA‑2021 limits | All R1 uses + larger plot residential development
3 | R3 | Rural Settlement (Village Residential) | Village houses, Mixed rural residential, Traditional houses, Cowsheds, Service‑based rural housing
4 | R4 | Proposed Urban Residential / Proposed Rural Expansion | Future planned residential, New township housing, Group housing, Low‑density expansion
5 | R5 | Farmhouse / Faikari Residential | Farmhouses, Agricultural‑residential usage, Low‑density settlement
COMMERCIAL LAND‑USE CATEGORIES (C1–C3, SE)
S. No. | Code | Category Name | Permitted Commercial Activities
1 | C1 | Commercial‑1 | Convenience shops, Restaurants, Vegitable shops, Milk booths, Bakery, Internet Center, Cottage industry, Banks, Small Kiosks, Lodging/boarding, Guest house, ATM
2 | C2 | Commercial‑2 | Shopping centre, Shopping mall, Open Mall, Commercial Buildings, Petrol pump, Fuel station, Guest house, City centre, Multiplex, Miniplex
3 | C3 | Commercial‑3 | Warehouse, Godown, Wholesale markets, Mandis, Small wholesale bazaars, Small mandi sheds, Timber market, Stockyard, Specialised Market, Grain market, Slaughter House
4 | SE | Social Exchange Establishment | Auto‑repair workshops, Construction Workshop, Carpentry Workshop, Garage
INDUSTRIAL LAND‑USE CATEGORIES (I1 & I2)
S. No. | Code | Category Name | Permitted Industrial Activities
1 | I1 | Industrial–1 (Non‑polluting industries) | All types of cottage industries and small‑scale industries permitted under Industrial Rules. These include low‑emission, small‑scale, household‑type industrial units. Green Category Industry, Service Industry
2 | I2 | Industrial–2 (Polluting / High‑Impact industries) | Orange Category Industry, Red Category Industry, All types of large‑scale and medium‑scale industries permitted under Industrial Rules, including: Warehouses, Storage godowns, Junk Yard, Textile processing Unit, Stone cutting, Stone crushing, Gravel and Soil Processing Unit, Meat Processing Unit, Leather Processing, Cold Storage, Fuel Storage, Storage of Flammable Material, Thermal Power Plant, Hydel Power Plant, Gas Based Power Plant, Storage of Polluting and Hazardous Material, Hazardous Industry, Chemical Industry, Timber processing, Metal fabrication, Steel fabrication, Oil extraction units, Chemical manufacturing, Chemical storage (hazard‑regulated), Hazardous material handling units, Food‑grain processing, Flour mills, Rice mills, Oil mills, Beverage industries, , Plastic moulding, Rubber processing, Defence industries, Research/testing laboratories, Residential Units for Industrial workers housing, and all other industries that generate pollution or require environmental clearance.
PSP — PUBLIC & SEMI‑PUBLIC LAND‑USE CATEGORIES
S. No. | Code | Category Name | Permitted Uses (English Translation)
1 | E1 | Education–1 | Pre‑primary school, Primary school, Middle Family school
2 | E2 | Education–2 | Middle Secondary school, Senior Higher secondary school, VocationalT Training Centre (ITI)
3 | E3 | Education–3 | College, Polytechnic, University, Research Institute
4 | PA | Public Amenities | Electricity substation, Water pumping station, Water treatment plants (WTP), Basic Water supply Infrastructure, Water pipelines, Drainage System, Solid‑waste collection and segregation, Solid‑waste disposal site, Fire station, Cremation ground, Burial ground
5 | A1 | Assembly–1 | Community halls, Marriage halls, Exhibition halls, Convention space Auditorium
6 | A2 | Assembly–2 | Auditoriums Theater, Cinema hall, Multiplex Mini‑industrial exhibitions, Club, Museum, Planetarium, Convention centre, Stadiums
7 | H1 | Health–1 | Pharmacy, Clinic, Maternity Home, Dispensary, Nursing home, Primary health centres, Pathology lab
8 | H2 | Health–2 | Research centre, Hospital, Trauma centre, Speciality hospital, Medical science centres, Radiology Centre
9 | R&C | Religious & Cultural | All types of Religious Place (temples, mosques, gurudwaras, churches etc.)
10 | IT | Public Institutions | Post office, Telecom Network, Police station, Prison, Court complexes, Government & Semi‑government offices, Government & Semi‑government services, Public libraries
11 | HP | Hospitality | Hotel, Motel, Guest house, Patry Plot Inns, Entertainment facilities, Resorts
PARKS, RECREATION & ENTERTAINMENT
S. No. | Code | Category Name | Permitted Uses (English Translation)
1 | P | Parks / Plantation | Park, Garden, Urban plantations, Green house, Horticulture‑based activities Botanical garden
2 | SL | Sports & Leisure | Playground, Stadium, Golf course, Sports complexe, Swimming pool, Indoor stadium, Aquarium, Sports club. Amusement parks, Water parks
TRANSPORT & COMMUNICATION
S. No. | Code | Category Name | Permitted Uses (English Translation)
1 | TR | Transport | Road, Truck terminal, Bus terminal, Bus depot, Bus stop/stand, Railway line, Railway station, Railway yard, Container terminal depots, Parking, Multi‑level parking, Weigh bridge, Cold storage, Godown, Taxi stands, Auto stands, Petrol pumps, Fuel stations, Staff residence.
AGRICULTURE (Ag1–Ag2)
S. No. | Code | Category Name | Permitted Uses (English Translation)
1 | Ag1 | Agriculture–1 | Gardening, Farming, Dairy development, Fisheries, Animal husbandry, Natural Resource Sanctuary, Brick Manufacturing, Capacitive power plant Grain storage, Bio-gas Ethanol plant, Cattle farms, Cold storage units, Agro‑produce processing
2 | Ag2 | Agriculture–2 | Mining & quarrying, Landfill sites, Agricultural equipment workshops repair & selling, Saw Mill Road Side Eatery, Composting units, Pottery kilns, Brick kilns, Poultry farms, Farm House, Goat farms, Petrol pumps, Fuel stations, Bio Ethanol Plant, Capacitive power plant, Cold storage units

## Setbacks
Schedule 18‑2: Plot Development Standards
For Residential, Commercial, Public & Semi‑Public Land‑Use
Front & Rear Open Space Requirements (in meters)
For Plot Depth Building Height up to 9.5 m and Above
Plot Depth(In m) | Residential |  | Commercial |  | (Public & Semi‑Public)
| Front | Rear | Front | Rear | Front | Rear
6–09 Upto 6.09 | 1 | 1.5 NA | 1 | 1.5 NA | 1.5 | 1.5 NA
6–10 & 9–14 6.10 - 9.14 | 1.25 | 2 NA | 1.25 | 2 NA | 1.5 | 1.5
9–15 & 12–19 9.15 - 12.19 | 2.5 | 3 1.5 | 4 | 3 1.5 | 3 2.5 | 1.5
12–20 & 18–29 12.2 - 18.29 | 3 | 3.5 2.0 | 4.5 | 3 1.5 | 3 | 1.5
18–30 & 24–38 18.3 - 24.38 | 4 | 5 3.0 | 5 | 4.5 3.0 | 4.5 | 2
24.39 & above | 5 | 6 3.5 | 6 | 6 3.0 | 6 | 3
For Plot Width up to 7.60 and above
Width of Plot | Left | Right | Left | Right | Left | Right
Upto 7.60 | NA | NA | NA | NA | NA | 1.5
7.61 – 9.14 m | 1.5 NA | 3 1.5 | 1.5 NA | 3 NA | 1.5 | 3 1.5
9.15 – 12.19 m | 2.5 NA | 3 2.0 | 2 NA | 3 NA | 1.75 | 1.5
12.20 – 18.29 m | 3 1.5 | 3 3.0 | 3 NA | 3 NA | 2 | 1.5 3.0
18.30 – 30.48 m | 3.5 2.5 | 3 3.5 | 4.0 NA | 3 NA | 3 | 3
30.49 m & above | — 3.0 | 4.5 4.0 | — 3.0 | 4.5 3.0 | — 3.5 | 4.5
For Residential Building of Height above 9.5 M and Upto 10 M
Plot Area | Front (in M) if abutting road width is |  |  |  | Rear | Side 1 | Side 2 | Remarks
| Upto 7.5 M | 7.51 to 18 | 18.01 to 30.00 | Above 30
Upto 125 SqM | 1.5 | 3 | 4.5 | 6 | 1.8 | 0 | 0 | -
125 - 250 SqM | 1.5 | 3 | 4.5 | 6 | 1.8 | 0 | 3 | If height is less than 7 M and plot frontage is less than 9 M, the Side 2 = 1.5 M
Above 250 SqM | 1.5 | 3 | 4.5 | 6 | 1.8 | 3 | 3 | If height is less than 7 M and plot frontage is less than 12 M, the Side 2 = 1.5 M
For Residential Building of Height above 10 M
Building height (M) | Front (in M) if abutting road width is |  |  |  | Rear | Side 1 | Side 2
| Upto 7.5 M | 7.51 to 18 | 18.01 to 30.00 | Above 30
10.00 - 14.99 | 1.5 | 3 | 4.5 | 6 | 3 | 3 | 3
15.00 - 17.99 | 1.5 | 3 | 4.5 | 6 | 5 | 5 | 5
18.00 - 20.99 | 1.5 | 3 | 4.5 | 6 | 6 | 6 | 6
21.00 - 23.99 | 1.5 | 3 | 4.5 | 6 | 7 | 7 | 7
24.00 - 26.99 | 6 |  |  |  | 8 | 8 | 8
27.00 - 29.99 | 6 |  |  |  | 9 | 9 | 9
30.00 - 34.99 | 6 |  |  |  | 10 | 10 | 10
35.00 - 39.99 | 6 |  |  |  | 11 | 11 | 11
40.00 - 44.99 | 6 |  |  |  | 12 | 12 | 12
45.00 - 49.99 | 6 |  |  |  | 13 | 13 | 13
50.00 - 52.99 | 6 |  |  |  | 14 | 14 | 14
53 & Above | 6 |  |  |  | 15 | 15 | 15
For Other Occupancies having Building Height above 10 M
| Plot Size | Front | Rear | Side1 | Side2
Educational | NA | 6 | 6 | 6 | 6
Institutional | NA | 6 | 6 | 6 | 6
Assembly | NA | 12 | 6 | 6 | 6
Commercial and Storage | Upto 300 SqM | 3 | 3 | 0 | 0
| 301 - 500 | 4.5 | 3 | 3 | 0
| 501 - 1000 | 4.5 | 3 | 3 | 1.5
| Above 1000 | 4.5 | 4.5 | 4.5 | 4.5
VHI (Vehicular Height Impact) Setback Rules Explanation
(1) Plots up to 7.5 m width
For plots having a width of upto 7.5 meters, side setbacks may be relaxed, however front and rear setback shall be as per the above table.
For plots having a width of 7.5 meters, building construction is permitted as per regulations; however:
Front and Rear open spaces (setbacks) must be provided
Setbacks must follow the standards already defined in Schedule 18‑2
This means:
Narrow plots (≤ 7.5 m) can be built upon, but setback rules still apply.
(2) Roads wider than 18 meters → Mandatory Minimum Front Setback (M.O.S.)
For roads having a width of 18 meters or more, a minimum front open space, shall be known as follows:
मिकार्हि खुला क्षेत्र (M.O.S.) — Minimum Open Space (Front Setback) must be provided as per the table below.
Table — Minimum Open Space (M.O.S.) for Wide Roads
Proposed Road Width | Minimum Open Space (Front Setback)
18 m & above | 3.0 m
24 m & above | 4.5 m
30 m & above | 6.0 m
IMPORTANT CONDITION
If any plot already falls under Schedule 18‑2 where the required front open space (setback) is greater than the required M.O.S. from this table, then Schedule 18‑2 setback requirements will apply, NOT the smaller M.O.S. values above.
Schedule 18‑9 – Standards for Mixed‑Use Plots
18‑9 Mixed‑Use Plot Standards
Plot Size (in sq. meters) | Setback (Front) (m) | Setback (Side) (m) | Setback (Rear) (m)
Up to 240 | 2 | 1.5 | —
Above 240 to 500 | 2 | 1.5 | —
Above 500 to 1000 | 2 | 1.5 | —
Above 1000 to 2000 | 2 | 2 | —
Above 2000 to 4000 | 2.5 | 2 | —
Above 4000 to 6000 | 2.5 | 2 | —
Above 6000 to 10,000 | 2.5 | 2.5 | —
Above 10,000 | 2.5 | 2.5 | —
2000 to 4000 | 2.5 | 30 | 2
4000 to 6000 | 2.5 | 30 | 2
6000 to 10,000 | 2.5 | 30 | 2.5
Above 10,000 | 2.5 | 30 | 2.5
For Industrial buildings
Plot area (SqM) | Front (M) | Rear (M) | Side1 (M) | Side2 (M)
Upto 500 | 3 | 3 | 3 | 3
500 - 1000 | 4.5 | 3 | 3 | 3
1000 - 2000 | 6 | 4.5 | 4.5 | 4.5
2000 - 3000 | 7.5 | 4.5 | 4.5 | 4.5
3000 - 5000 | 7.5 | 6 | 4.5 | 4.5
5000 - 10000 | 10 | 6 | 9 | 9
10000 - 20000 | 12 | 7.5 | 9 | 9
20000 & above | 18 | 9 | 12 | 12
For Flatted Industries
1000 (Minimum area of land) | 8 | 4.5 | 4.5 | 4.5

## FAR
Notification 18‑3 Raipur
Land Development Standards – FSI Ratios for Residential, Commercial, Industrial, Public and Semi‑Public Land
Details of Proposed Floor Area Ratio (FAR/FSI)
1. Central Area / Old Urban Area (CA)
Residential Land Use
Plot Size (sq. m.) | Proposed FSI
Up to 150 sq. m. | 2
150 to 240 sq. m. | 2
240 to 500 sq. m. | 2
500 to 750 sq. m. | 2
750 to 1000 sq. m. | 2
Above 1000 sq. m. | 2.5
Commercial Land Use
Plot Size (sq. m.) | Proposed FSI
Up to 150 sq. m. | 2
150 to 240 sq. m. | 2
240 to 500 sq. m. | 2
500 to 750 sq. m. | 2
750 to 1000 sq. m. | 2
Above 1000 sq. m. | 2.5
Raipur Region Development Plan – Revised 2031
Department: Transport, Urban & Rural Planning, New Raipur, Greater Raipur, District Raipur NCR‑120
Industrial Use
Not available (No industrial use permitted).
Public and Semi‑Public Land
Plot Size (sq. m.) | Proposed FSI
Up to 150 sq. m. | 1.5
150 to 240 sq. m. | 1.5
240 to 500 sq. m. | 1.5
500 to 750 sq. m. | 2
750 to 1000 sq. m. | 2
Above 1000 sq. m. | 2.5
MHIF DP‑2021 Area (DA‑01)
FSI (Floor Space Index) with TDR Eligibility
Residential Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 2.00 + TDR
150 to 240 sq. m. | 2.00 + TDR
240 to 500 sq. m. | 2.00 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
Commercial Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 2.00 + TDR
150 to 240 sq. m. | 2.00 + TDR
240 to 500 sq. m. | 2.00 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
Industrial Use
Category | Permitted FSI
Industrial Land | 1
Public & Semi‑Public Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.50 + TDR
150 to 240 sq. m. | 1.50 + TDR
240 to 500 sq. m. | 1.50 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
MHIF‑2021 North Zone (DA‑02)
FSI (Floor Space Index) with TDR – Northern Area
1. Residential Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.80 + TDR
150 to 240 sq. m. | 1.80 + TDR
240 to 500 sq. m. | 1.80 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
2. Commercial Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.50 + TDR
150 to 240 sq. m. | 1.50 + TDR
240 to 500 sq. m. | 1.50 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
3. Industrial Use
Category | Permitted FSI
Industrial Land | 1
4. Public & Semi‑Public Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.50 + TDR
150 to 240 sq. m. | 1.50 + TDR
240 to 500 sq. m. | 1.50 + TDR
500 to 750 sq. m. | 1.75 + TDR
750 to 1000 sq. m. | 1.75 + TDR
Above 1000 sq. m. | 1.75 + TDR
MHIF‑2021 South Zone (DA‑03)
FSI (Floor Space Index) with TDR – Southern Area
1. Residential Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.80 + TDR
150 to 240 sq. m. | 1.80 + TDR
240 to 500 sq. m. | 1.80 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
2. Commercial Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.50 + TDR
150 to 240 sq. m. | 1.50 + TDR
240 to 500 sq. m. | 1.50 + TDR
500 to 750 sq. m. | 2.00 + TDR
750 to 1000 sq. m. | 2.00 + TDR
Above 1000 sq. m. | 2.50 + TDR
3. Industrial Use
Category | Permitted FSI
Industrial Land | 1
4. Public & Semi‑Public Use
Plot Size (sq. m.) | Permitted FSI
Up to 150 sq. m. | 1.50 + TDR
150 to 240 sq. m. | 1.50 + TDR
240 to 500 sq. m. | 1.50 + TDR
500 to 750 sq. m. | 1.75 + TDR
750 to 1000 sq. m. | 1.75 + TDR
Above 1000 sq. m. | 1.75 + TDR
Notes (टीप)
1. Regarding plots in the Central Area
It is not possible to regularize and prescribe a minimum plot size for already developed plots in the Central Area. Most residential plots in the Central Area are irregular in shape and size. Considering the requirement of proper ventilation, natural light, and a healthy environment at workplace locations, ➤ A graded (tapered) FSI has been proposed for the developed plots.
2. For buildings taller than 12.50 meters
Provisions of Rule 42A(1) of the NMC Land Development Rules, 1984 shall apply. It is not possible to regularize and prescribe a minimum plot size for already developed plots in the Central Area. Most residential plots in the Central Area are irregular in shape and size. Considering the requirement of proper ventilation, natural light, and a healthy environment at workplace locations, ➤ A graded (tapered) FSI has been proposed for the developed plots.
2. For buildings taller than 12.50 meters
Provisions of Rule 42A(1) of the NMC Land Development Rules, 1984 shall apply.
3. Additional Dwelling Units Beyond the Permitted FAR
In plots above 250 sq. m. and up to 500 sq. m., one additional staff/servant dwelling unit will be permitted.
In plots above 500 sq. m., two additional staff/servant dwelling units will be permitted.
4. Maximum Size of One Staff/Servant Dwelling Unit
The maximum size of one staff/servant dwelling unit shall be 20 sq. m.
Out of this, the minimum size of one habitable room shall be 11 sq. m.
In addition, the residential unit must include: A cooking space (kitchen corner) A bathroom, and A toilet (WC)
5. Occupancy Count for Water Requirement Calculations
For calculating the water requirement:
One residential unit shall be considered to house 4–5 persons.
One staff/servant dwelling unit shall be considered to house 2–4 persons.
6. Parking Permission for Plots up to 135 sq. m.
Stilt floor parking may be permitted as per the rules for plots up to 135 sq. m.
7. For Plots of 230 sq. m.
For plots of 230 sq. m., permission for separate (detached) buildings may be given if desired.
However, the open space on any one side must not be less than 2.5 meters.
8. For Plots up to 135 sq. m.
For plots up to 135 sq. m., the minimum required open space shall be 1.5 meters.
9. Plot Size Measurement Standard
The plot size description has been given as per the metric system.
If converted into another system, the final size shall be considered according to the closest equivalent metric standard.
10. When Adjusted Open Space Is Less
After leaving the minimum required open space,
if the remainder of the plot does not satisfy the minimum plot size requirement, then:
The plot area smaller than the minimum standard will still be considered valid,
But the centrally‑prescribed minimum plot size requirement will not apply.
11. For Plots Where Dimensions (Length–Width) Are Not Specified in the Notification
Where length and width are not specified in the notification:
The adjusted open space requirement shall be maintained
According to the ratio of the actual plot area, and
It will be considered in full (exact) for compliance purposes.
Mixed Land Use
Plot area (SqM) | Residential |  | Commercial | PSP
| Plotted development | Multistoried Building
Upto 240 | 2 | - | 2 | 1.5
240 - 500 | 2 | - | 2 | 1.5
500 - 1000 | 2 | 2 | 2 | 1.5
1000 - 2000 | - | 2.5 | 2.5 | 2
2000 - 4000 | - | 2.5 | 2.5 | 2
4000 - 6000 | - | 2.5 | 2.5 | 2
6000 - 10000 | - | 2.5 | 2.5 | 2.5
Above 10000 | - | 2.5 | 2.5 | 2.5
Industrial
For Industrial buildings
Plot area (SqM) | Front (M)
Upto 500 | 3
500 - 1000 | 4.5
1000 - 2000 | 6
2000 - 3000 | 7.5
3000 - 5000 | 7.5
5000 - 10000 | 10
10000 - 20000 | 12
20000 & above | 18
For Flatted Industries
1000 (Minimum area of land) | 8

## Coverage
Schedule 18‑9 – Standards for Mixed‑Use Plots
18‑9 Mixed‑Use Plot Standards Ground Coverage for Mixed Land Use |  |  |  | 18.9 Ground Coverage for Mixed Land Use
Plot Size (in sq. meters) | Residential Coverage (%) | Commercial Coverage (%) | PSP (Public/Semi‑Public) Coverage (%) | Plot Area (sq. m) | Residential – Low Rise | Residential – Multistorey Buildings | Commercial | Public & Semi‑Public
Up to 240 | 60 | 35 | 35 |  | Ground Coverage (%) | Ground Coverage (%) | Ground Coverage (%) | Ground Coverage (%)
Above 240 to 500 | 50 | 35 | — | Less than 240 | 60 | – | 60 | 40
Above 500 to 1000 | 40 | — | — | 240 to 500 | 50 | – | 60 | 40
Above 1000 to 2000 | 35 | — | — | 500 to 1000 | 40 | 35 | 60 | 40
Above 2000 to 4000 | 35 | 50 | 30 | 1000 to 2000 | – | 35 | 50 | 30
Above 4000 to 6000 | 30 | 50 | 30 | 2000 to 4000 | – | 35 | 50 | 30
Above 6000 to 10,000 | 30 | 50 | 30 | 4000 to 6000 | – | 30 | 50 | 30
Above 10,000 | 30 | 50 | 30 | 6000 to 10000 | – | 30 | 50 | 30
2000 to 4000 | 35 | 50 | 30 | More than 10000 | – | 30 | 50 | 30
4000 to 6000 | 30 | 50 | 30
6000 to 10,000 | 30 | 50 | 30
Above 10,000 | 30 | 50 | 30
Table 18.18 – Ground Coverage for Industrial Land Use
Plot Area (Hectares) | Max. Ground Coverage (%)
0.05 | 60
0.05 – 0.10 | 60
0.10 – 0.20 | 60
0.20 – 0.30 | 60
0.30 – 0.50 | 60
0.50 – 1.00 | 60
1.00 – 2.00 | 60
More than 2.00 | 60
Flatted Factory Plots (Min. plot size 1000 sq.m / 0.10 ha) | 50

## Regulation of zones
18‑11 Regulation of Residential Zones
In the Residential Zone, the permissible use of any plot of land shall be determined strictly according to the width of the road on which the plot is situated.
The permitted land‑use categories corresponding to each road width are listed below.
Table: Permissible Use Categories in Central Area – Residential Zone (R1)
(As per Schedule 18‑4)
S. No. | Road Width (in meters) | Permitted Use Categories
1 | Less than 9 m and up to 12 m | R, C1, R&C, P, PA
2 | More than 12 m and up to 18 m | R, C1, C2, E1, E2, A1, H1, R&C, P, SE, PA, IT
3 | More than 18 m and up to 30 m | R, C2, E2, A1, A2, H1, H2, R&C, SL, P, SE, I1, PA, IT
4 | More than 30 m | R, C2, E2, E3, A1, A2, H1, H2, R&C, SL, P, SE, I1, PA, IT, HP, TR
Notes:-
The permissible use of a plot shall be determined according to the width of the road on which it is located.
Expansion of Commercial‑1 (C1) use within a plot shall be regulated as per the Chhattisgarh Development Rules, 1984.
Open space, parking, and basement provisions shall be governed according to the Chhattisgarh Land Development Rules, 1984.
On roads less than 12 meters wide, only C1‑category uses such as daily‑need shops, milk booths, internet centers, beauty parlors, ATMs, etc., shall be permitted.
**Schedule 18‑5
MHIF DP‑2021 Area – Residential Zone (R2)**
Permissible Uses Based on Road Width
S. No. | Road Width (meters) | Permitted Use Categories
1 | Less than More than 9 m and up to 12 m | R, C1, E1, R&C, P, PA
2 | More than 12 m and up to 18 m | R, C1, E1, A1, H1, R&C, P, SE, PA, IT
3 | More than 18 m and up to 30 m | R, C1, C2, E2, A1, A2, H1, H2, R&C, P, SE, PA, IT, I1
4 | More than 30 m | R, C2, C3, E2, E3, A1, A2, H1, H2, R&C, SL, P, SE, I1, TR, PA, IT, HP
Notes
Building height, setbacks, open space, parking, and basement provisions shall follow the Chhattisgarh Land Development Rules, 1984.
On roads less than 12 meters wide, only the following C1-category uses shall be permitted:
daily‑need shops, milk booths, internet centers, beauty parlours, ATMs, etc.
Plot Area Rules
i. The minimum permissible plot area shall be 100 sq. meters.
ii. No dimension of the plot shall be less than 9 meters.
iii. The plot’s depth‑to‑frontage ratio shall not exceed 1:2.
**Schedule 18‑6
Rural Area – Residential Zone (R3)**
Permissible Uses Based on Road Width
S. No. | Road Width (meters) | Permitted Use Categories
1 | Less than More than 9 m and up to 12 m | R, C1, E1, R&C
2 | More than 12 m and up to 18 m | R, C1, C2, E1, H1, R&C, IT, PA
3 | More than 18 m and up to 30 m | R, C1, C2, E1, E2, H1, R&C, IT, PA, A1, P
4 | More than 30 m | R, C2, E1, E2, H1, H2, R&C, IT, PA, A1, P, I1
Notes
Building Height, Open Space & Parking Standards
The maximum permissible building height, setbacks, open spaces, parking, and basement provisions shall be regulated as per the Chhattisgarh Land Development Rules, 1984.
Permitted Uses on Roads Below 12 Meters
On roads having a width of less than 12 meters, only following C1‑category uses are permitted.
These include: Daily‑need shops,Milk booths,Internet cafés,Beauty parlours,ATMs and similar low‑intensity commercial activities.
**Schedule 18‑7
Redevelopment Area – Residential Zone (R4)**
Permissible Uses Based on Road Width
S. No. | Road Width (meters) | Permitted Use Categories
1 | More than 9 m and up to 18 m | R, C1, E1, A1, H1, R&C, P, SE, PA, IT
2 | More than 18 m and up to 30 m | R, C1, C2, E2, A1, A2, H1, H2, R&C, P, SE, PA, IT, I1
3 | More than 30 m | R, C2, C3, E2, E3, A1, A2, H1, H2, R&C, P, SE, PA, IT, SL, I1, TR, HP
Notes (R4 Zone)
Building Height, Open Spaces & Parking
Maximum permissible building height, setbacks, open spaces, parking, and basement provisions shall be regulated as per the Chhattisgarh Land Development Rules, 1984.
Uses Permitted on Roads Below 12 Meters
On roads with a width less than 12 meters, only C1-category uses are permitted such as: daily-need shops, milk booths, internet cafés, beauty parlors, ATMs, etc.
**Schedule 18‑8
Farmhouse Residential Zone (R5)**
Permissible Uses Based on Road Width
S. No. | Road Width (meters) | Permitted Use Categories
1 | Less More than 9 m and up to 12 m | R, C1, R&C, PA
2 | More than 12 m and up to 18 m | R, C1, R&C, PA, E1, A1, H1, SE, IT, P
3 | More than 18 m and up to 30 m | R, C1, C2, R&C, PA, E1, E2, A1, H1, SE, IT, P
4 | More than 30 m | R, C1, C2, R&C, PA, E1, E2, E3, A1, H1, SE, IT, P
Notes
Building Height, Setbacks, Open Spaces & Parking
Building height, internal setbacks, open spaces, parking, and basement provisions shall be regulated as per the Chhattisgarh Land Development Rules, 1984.
Uses Permitted on Roads Less Than 12 Meters
On roads with a width less than 12 meters, only C1‑category uses such as daily‑need shops, milk booths, internet cafés, beauty parlours, ATMs, etc., shall be permitted.
18‑12 Group Housing Residential Area Regulations
1. Group Housing refers to a collection of two or more buildings located on a single plot of land, consisting of one or more blocks. More than one residential activity is allowed within these buildings. These buildings must not directly open onto the existing main roads.
2. The minimum size of the plot should be 400 square meters.
3. Other regulations shall be in accordance with the NAC/HUDA Development Rules, 1984.
18‑13 Duplex and Row Housing
In row housing, the minimum size of a combined plot must be 135 square meters.
In the front setback (front open area), a minimum of 1.50 meters must be left.
The open area in front should be at least 2.50 meters.
18‑14 Mixed‑Use Standards
Provision has been made for mixed land use on city-level and arterial roads.
Under mixed land use, commercial, residential, public/semi‑public, and non‑public/semi‑public—any of these three categories may be developed by the plot owner at their discretion.
Based on the size of the plot, the designated zones and permissible ratios have been described in Schedule No. 18‑4.
The height of mixed‑use buildings has been shown in the Mixed‑Use Building Height Map (Plot Use Map).
Table 18.10 – Permissible Use Categories Based on Road Width in Mixed Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | 18 m and less than 30 m | R, C1, C2, E1, E2, H1, R&C, SL, P, IT
2 | 30 m and above | R, C1, C2, E1, E2, H1, H2, R&C, SL, P, IT, A1, A2, SE, I1, TR, PA, HP
Table 18.11 – Permissible Use Categories Based on Road Width in Commercial Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | 12 m and less than 18 m | C1, R&C, PA, H1, SE, IT
2 | 18 m and less than 30 m | R*, C1, C2, R&C, PA, A1, H1, H2, SE, IT, I1
3 | 30 m and above | R*, C2, C3, R&C, PA, A1, A2, H1, H2, SE, IT, I1, SL, TR, HP
Notes:
1. Building height, internal open space, open space, parking, and basements shall be regulated as per Chhattisgarh Land Development Rules, 1984.
2. Residential use (R*) shall not exceed one‑third (1/3) of the total built‑up area and shall be only for fulfilling residential needs of persons working in the concerned commercial building.
Table 18.17 – Permissible Use Categories Based on Road Width in Industrial Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | 12 m and less than 18 m | I1, C1, R&C, P, PA, IT, SE, A1
2 | 18 m and above | I1, I2, C1, C2, C3, R&C, P, PA, IT, R, SE, A1, TR
Notes:
1. Building height, internal open space, open space, parking, and basements shall be governed as per the Chhattisgarh Land Development Rules, 1984.
2. Residential use (R) shall be permitted only for employees and workers working in the concerned industrial units, such as residential quarters, hostels, and guest houses, and shall not exceed one‑third (1/3) of the total built‑up area.
Table 18.20 – Permissible Use Categories Based on Road Width in Public & Semi‑Public Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | 12 m and less than 18 m | C1, E1, H1, R&C, P, PA, IT, A1
2 | 18 m and less than 30 m | C1, C2, E2, H1, H2, R&C, P, PA, IT, A1, A2, SL, R
3 | 30 m and above | C1, C2, E2, E3, H1, H2, R&C, P, PA, IT, A1, A2, SL
Notes:
1. Building height, internal open space, open space, parking, and basements shall be governed as per the Chhattisgarh Land Development Rules, 1984.
2. Residential use (R) shall be permitted only for employees working in the concerned public or semi‑public institutions, such as staff housing, hostels, and guest houses, and shall not exceed one‑third (1/3) of the total built‑up area.
Table 18.24 – Permissible Use Categories Based on Road Width in Recreational Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | 18 m and above | R&C, SL, P, PA, IT, HP
Table 18.26 – Permissible Use Categories Based on Road Width in Transportation Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | 9 m and less than 12 m | H1, R&C, IT, A1, C1
2 | 12 m and less than 18 m | TR, C1, H1, R&C, P, IT, A1, SE
3 | 18 m and less than 30 m | TR, C2, H1, R&C, P, PA, IT, A1, SE
4 | 30 m and above | TR, C2, H1, R&C, P, PA, IT, A1, SE
Notes:
1. Building height, internal open space, open space, parking, and basements shall be regulated as per the Chhattisgarh Land Development Rules, 1984.
2. On roads less than 12 meters wide, only neighborhood‑level commercial uses under C1 such as small shops, milk booths, internet centers, kiosks, ATMs, etc. shall be permitted.
Table 18.33 – Permissible Use Categories in Agricultural Land Use
Sl. No. | Road Width (in meters) | Permissible Use Categories
1 | Less than 6 m | Ag1
2 | 12 m and less than 18 m | Ag1, Ag2, P, PA
3 | 18 m and less than 30 m | Ag1, Ag2, P, PA, R*, C1**, C2, IT, R&C, E2, H2
4 | 30 m and above | Ag1, Ag2, P, PA, R*, C1**, C2, C3, IT, R&C, E2, E3, H2, HP
Clarifications:
R* – Residential use permitted only for agricultural operations.
C1** – Micro and small industries (green category & service industries) permitted up to a maximum built‑up area of 500 sq.m and limited to rural population needs.
For C3, E2, E3, PA, and H2, the maximum permissible FAR shall be 1.0.
Note:
1. Maximum permissible building height, internal open space, open space, parking, and basements shall be governed by the Chhattisgarh Land Development Rules, 1984.
2. On roads less than 12 meters wide, only neighborhood‑level commercial uses under C1 such as vegetable shops, milk booths, internet centers, kiosks, ATMs, etc. shall be permitted.

## Standard Checks
Distance from Electric Line (Rule 52 of BVN 1984)
Capacity | Minimum Distance
Upto 33 KVA | 1.2 M on both sides
Above 33 KVA | 7.5 M on both sides
Distance from Water body (Rule 50 of BVN 1984)
If marked | Minimum Distance
Average high flood mark | 9 M
Boundary of water course | 15 M
Minimum distance between building line and other markings
Parking and building line | 3.6 M
Recreational ground and building line | 3 M
Internal road and building line | 3 M
Recreational ground checks
Commercial | 10% of plot area | If plot area exceeds 2000 SqM
Residential | 10% of plot area
Amenity space check
Industrial plotting | 5% of plot area | If plot area exceeds 8000 SqM
Industrial site plan | 10% of plot area or 2500 SqM whichever is more | If plot area exceeds 1000 SqM
Fuel filling station
FAR | 0.4
Ground coverage | 40%
Fuel filling station and Kisan Seva kendra (FFS)
Population | Minimum plot size | Minimum frontage | Min width of abutting road | Min distance from road junction
Upto 1 Lac | 20 M x 20 M | 20 M | 18 M | 80 M
Above 1 Lac |  |  | 24 M | 100 M
Fuel filling station with services and facilities (FFSS)
Population | Minimum plot size | Minimum frontage | Min width of abutting road | Min distance from road junction
Upto 1 Lac | 35 M x 35 M | 35 M | 18 M | 80 M
Above 1 Lac |  |  | 24 M | 100 M
Note: Ladies and gents toilets, drinking water, equipment for fire extinguisher shall be necessarily provided in all fuel filling stations
ECS Calculation for parking
Open parking | 25 SqM/ Car
Stilt / Floor | 30 SqM/ Car
Basement | 35 SqM/ Car
Rule 42A BVN 1984
If building height | Ground coverage | Minimum size of plot | Min. road width
15 M - 24 M | 40% Upto plot area 8000 SqM or else as per masterplan | 1000 | 12
24 M - 30 M | 40% Upto plot area 10,000 SqM or else as per masterplan | 1500 | 18
Above 30 M | 40% irrespective of plot size | 2000 | 24
Pent house
- Area of penthouse should not exceed 1/3 of roof area
- Height of pent house is exempted from total building height calculation
- Should be of residential use only (To be added in BUA)
Podium
Minimum plot area | 1000 SqM
Clear height (Max) for normal parking | 2.4 M
Clear height (Max) for mechanized parking | NA
Exemption in height calculation | 0.9 M for services (If marked)
Maximum podium floors (If plot area is more than 5000 SqM) | 3 floor above ground level
Note: 1. Podium area shall not be counted in BUA 2. Uncovered roof top of podium can be used towards the requirement of organised open spaces/open Parking 3. Podium can exdent beyond building line but should not reduce the setback
Basement
Setbacks | Front/Rear/Sides
Building height upto 18 M | 3 M
Building height above 18 M | 6 M
Note: 1. Basement is allowed only if plot area is more than 500 SqM 2. If landuse is commercial and plot area is more than 1000 SqM, first basement can be used for commercial activities(To be added in BUA). 3. Ramp should be mandatory if basement is proposed.
Exemptions in floor height:
1. 0.5 M on each floor for services (If marked) 2. 0.9 M on stilt floor parking, podium parking, parking floor and basement (If marked)
Exemption in total building height
1. Height of stilt floor parking, podium parking, parking floor and basement (If height is not exceeding 2.4 M) 2. Roof top structures like penthouse, mumty, Overhead tank, parapet wall

## Shopping Mall & Open Mall
Planning Norms |  | Shoipping Mall | Open Mall
FAR when the plot abuts | Road width 18 M | 1.5 | 1.5
| Road width 24 M | 1.75 | 1.75
| Road width 30 M and above | 2 | 2
Minimum plot area | For towns having population upto 3 Lakhs | 1000 SqM | 4000 SqM
| For towns having population 3 to 5 lakhs | 1250 SqM | 5000 SqM
| For towns having population above 5 Lakhs | 1500 SqM | 8000 SqM
Ground coverage |  | 40% | 40%
Minimum MoS | Front | 9 | 12
| Rear | 6 | 7.5
| Sides | 6 | 7.5
Minimum Parking | Population upto 3 Lakhs | 1 ECS/ 60 SqM of BUA
| Population 3 to 5 lakhs | 1 ECS/ 55 SqM of BUA
| Population above 5 Lakhs | 1 ECS/ 50 SqM of BUA
Maximum height | Population upto 3 Lakhs | 18 M | 18 M
| Population 3 to 5 lakhs | 24 M | 24 M
| Population above 5 Lakhs | 30 M | 30 M
Min. abutting road |  | 18 M | 18 M

## Sub Occupancy Specific Rules
Fuel filling station
FAR | 0.4
Ground coverage | 40%
Fuel filling station and Kisan Seva kendra (FFS)
Population | Minimum plot size | Minimum frontage | Min width of abutting road | Min distance from road junction
Upto 1 Lac | 20 M x 20 M | 20 M | 18 M | 80 M
Above 1 Lac |  |  | 24 M | 100 M
Fuel filling station with services and facilities (FFSS)
Population | Minimum plot size | Minimum frontage | Min width of abutting road | Min distance from road junction
Upto 1 Lac | 35 M x 35 M | 35 M | 18 M | 80 M
Above 1 Lac |  |  | 24 M | 100 M
Note: Ladies and gents toilets, drinking water, equipment for fire extinguisher shall be necessarily provided in all fuel filling stations
Table 18.21 – Standards for Theater
A. Access & Area Requirements
Sr. No. | Parameter |  | Standard / Requirement
1 | Minimum Road Width |  | 18 meters
2 | Stoppage area |  | Additional open space of 1.67ECS per 100 sq.m of built‑up area OR 1 ECS per 150 seats, whichever is less
3 | Area Requirement |  | 2.3 sq.m per person shall be taken for calculation of required area
B. Permissible Ground Coverage
Seating Capacity |  | Maximum Ground Coverage
Up to 800 seats |  | 40%
More than 800 seats |  | 33%
C. Setback Requirements
Front | Rear | Side1 | Side2
6.00 meters | 6.00 meters | 6.00 meters | 6.00 meters
Table 18.15 – Development Regulations for Multiplex
Sl. No. | Development Parameter | Commercial Use | Residential / Public & Semi‑Public Use | Agricultural Use
1 | FAR (Floor Area Ratio) | FAR as prescribed in the Development Plan use provisions | FAR as prescribed in the Development Plan use provisions | 1
2 | Maximum Ground Coverage | 40% | 30% | 30%
3 | Height | NA | NA | NA
4 | MoS / Setbacks | Front 12 M | Front 12 M | Front 15 M and 9 M on all three sides
Rear/Side1/Side2
| 10.00 - 14.99 | 3 | 3
| 15.00 - 17.99 | 5 | 5
| 18.00 - 20.99 | 6 | 6
| 21.00 - 23.99 | 7 | 7
| 24.00 - 26.99 | 8 | 8
| 27.00 - 29.99 | 9 | 9
| 30.00 - 34.99 | 10 | 10
| 35.00 - 39.99 | 11 | 11
| 40.00 - 44.99 | 12 | 12
| 45.00 - 49.99 | 13 | 13
| 50.00 - 52.99 | 14 | 14
| 53 & Above | 15 | 15
5 | Parking | 1 ECS per 50 sq.m built‑up area (basement parking is mandatory) | 1 ECS per 50 sq.m built‑up area (basement parking is mandatory) | 1 ECS per 50 sq.m built‑up area (basement parking is mandatory)
6 | Minimum Plot Area | 4000 sq.m | 8000 | 16000
7 | Approach Road Width | — | 24 meters | 24 meters
Note:
1. Multiplexes shall not be permitted in the Central Area.
Table 18.16 – Development Regulations for Star Hotel
Sl. No. | Development Parameter | Commercial Use | Residential / Public & Semi‑Public Use | Agricultural Use
1 | FAR (Floor Area Ratio) | 2.5 | 1.75 | 1
2 | Maximum Ground Coverage | 30% | 30% | 30%
3 | MoS / Setbacks | Front 12 M | Front 12 M | Front 15 M and 9 M on all three sides
Rear/Side1/Side2
| 10.00 - 14.99 | 3 | 3
| 15.00 - 17.99 | 5 | 5
| 18.00 - 20.99 | 6 | 6
| 21.00 - 23.99 | 7 | 7
| 24.00 - 26.99 | 8 | 8
| 27.00 - 29.99 | 9 | 9
| 30.00 - 34.99 | 10 | 10
| 35.00 - 39.99 | 11 | 11
| 40.00 - 44.99 | 12 | 12
| 45.00 - 49.99 | 13 | 13
| 50.00 - 52.99 | 14 | 14
| 53 & Above | 15 | 15
4 | Height
5 | Parking | 1 ECS per 50 sq.m built‑up area (basement parking is mandatory) | 1 ECS per 50 sq.m built‑up area (basement parking is mandatory) | 1 ECS per 50 sq.m built‑up area (basement parking is mandatory)
6 | Minimum Land area (SqM) | 6000 | 10000 | 20000
7 | Approach Road Width | 30 | 30 | 24
Note:
1. Star Hotel shall not be permitted in the Central Area.
Table 18.24 – Development Regulations for Other Hotel
1 | Minimum land area | 1000 SqM
2 | Ground Coverage | As per land use
3 | FAR | As per land use
Note:
Up to 5% of the FAR may be utilized for commercial use related to hotel activities.

## Row housing Standards
18‑8 Row Housing Standards (Row House Regulations)
1. Applicability of Rules
Provisions of the NMC Land Development Rules, 1984 shall apply.
2. Minimum Road Width
Row houses shall not be permitted on roads less than 12.0 meters wide.
3. Minimum Plot Size in Other Zones
In zones other than the Central Area, the minimum plot size shall be 400 sq. meters.
(Central Area is excluded from this requirement.)
4. Individual Row House Unit
Each row house shall be considered a separate unit, and
Construction will not be allowed outside the building line.
5. More Than One Row in a Row Housing Scheme
In schemes having more than one row,
construction of residential buildings shall not be permitted outside the respective building line of each row.
6. Parking Requirements
Where parking is proposed to be provided:
The minimum width of the driveway shall not be less than 4–5 meters in any case.
The gradient/slope of the driveway must not be steeper than 1:10.
The gradient should begin at least 1 meter away from the plot boundary, ensuring smooth entry/exit.
Multi‑storeyed buildings may be permitted a service (ramp) bay without obstructing the movement of fire engines or emergency vehicles.
7. Standards for Row Housing on Plots Above 500 sq. m.
7.1 Open Space Requirements
For row housing on plots larger than 500 sq. m., construction outside the building line will be permitted only under the following conditions:
Front open space: Minimum 6 meters
Rear open space: Minimum 3 meters
Side open space (one side): Minimum 3 meters
However, the open space required for parking shall not exceed the norms applicable to the plot’s permissible building line.
Additionally, no basement shall be permitted in the mandatory front open space facing the main road.
7.2 Basement Height Restrictions
For parking use, the permissible maximum height of the basement, measured from the lower side of the plot to the upper side of the basement, shall be 2.40 meters.
If the first basement is proposed for any use other than parking, the permissible height must comply with the norms, and the basement coverage must remain within the permissible area of the plot.
7.3 Ventilation Requirements (Overhead Lintel–Ventilator)
Overhead ventilators (high‑level ventilators) shall be designed to ensure adequate air and natural light inside the basement and other areas.
7.4 Provisions for Podium and Mechanical Parking
Podium and mechanical parking systems shall be allowed as per the relevant provisions of the NMC Land Development Rules, 1984.
For row houses, the part of the building projecting beyond the building line shall be designed so that it can safely withstand heavy vehicle loads.
For this purpose, a certificate from a structural engineer will be required.
7.5 Additional Technical Note
The basement should be designed so that fire engines and emergency vehicles can operate without obstruction.
All structural projections on the road‑facing side shall comply with the prescribed structural safety norms.
18‑9 Regularisation, Minor Changes, and Reconstruction
Permissions for regularisation, minor alterations, modifications, and reconstruction shall be granted under these rules once the development plan provisions become applicable. However, even while granting such permissions, construction beyond the permissible building line in the sanctioned area shall not be permitted.
No building shall be allowed to extend outside the mandatory front open space.
8‑10 Limits of Sanctioned Area and Buildable Area
The sanctioned area (permissible construction zone) and the buildable area (FAR/FSI zone) for plots of different sizes shall be as per the limits defined in Tables 18‑2 and 18‑3.
Further, the Raipur Development Area has been divided into four zones for the purpose of building regulations:
1. Central Area / Old Urban Area
2. MHIF‑2021 Area
3. Northern Area
4. Southern Area
These limits shall apply according to the respective zone in which the plot is located.